| Composting | AD | MBT |
| --- | --- | --- |
| Management Systems - ISO14001 – training/records/audits/maintenance/complaints Technical Competence Emergency planning- leaks, fire, flooding Waste Pre – Acceptance & Acceptance Procedures Pre-acceptance procedures to assess waste Procedures for waste, waste storage, and specific activities for waste treatment Records Feedstock characterisation and sampling procedures Indicative BAT requirements for waste pre-acceptance Indicative BAT requirements for acceptance procedures |
| Waste reception and storage Feedstock reception and storage Weighbridge / Weighing Facilities Feedstock Acceptance Process Areas Removal of non-processable materials | Waste reception and storage Feedstock reception and storage Weighbridge / Weighing Facilities Feedstock Acceptance Process Areas Reception Hall Building Ventilation Storage Capacity and Type Storage Bunkers and Tanks Drummed / container waste Removal of non-processable materials Slurry Storage - [AD only] Crop Storage (Ensilement) - [AD only] Indicative BAT requirements for Waste reception and storage |
| Pre-treatment Manual Sorting Mechanical Pre-treatment Food waste de-packaging equipment Chemical Pre-treatment Third Party / Off-site pre-treatment Composting - Open Process Systems. Windrow composting without static aeration. Size of windrows. Windrow Turning and agitation. Indicative BAT requirements for open treatment; general principles. Open Processes with Aeration. Continuous aerated block composting. Indicative BAT requirements for open static aerated treatment Composting in Closed Systems In-Vessel Composting (IVC) Tunnels. Enclosed Halls. Agitated Bays. Rotating Drums. Containers. Silos/Towers. Indicative BAT requirements for IVC - general principles. Thermophilic Aerobic Digester (TAD) Start-up of a TAD unit Indicative BAT requirements for TAD - general principles. | Pre-treatment Manual Sorting Mechanical Pre-treatment Food waste De-packaging Equipment Chemical Pre-treatment Thermal and Thermo-chemical Pre-treatment Ultrasonic Pre-treatment Biological Pre-treatment Nutrient Addition Third Party / Off-site Pre-treatment Pasteurisation Loading Techniques Continuous Flow Systems Batch Fed Systems Digestion Start-up of a Digester Design temperature Single stage vs multi-stage systems Low Solids (Wet) or High Solids (Dry) Processes Digester Designs Low solids processes Continuously and Semi-Continuously Fed Low Solid Digesters Anaerobic Lagoons High solids processes Continuously Fed High Solids Digesters (Plug Flow) Batch Fed High Solids Digesters Retention Time and Digester Capacity Digester Design and Construction Digester Mixing and Heating Techniques Digester Mixing Mechanical stirring Top Mounted (Large Blade) Impellers Side Mounted Impellers Gas Mixing Hydraulic stirring Digester Heating Techniques Indicative BAT requirements for Treatment - general principles Environmental Considerations Nutrient Requirements Temperature pH and Alkalinity Volatile Fatty Acid and Ammonia Concentration and Speciation Inhibition and toxicity Loading Rate and Retention Time Monitoring and Control Considerations Process Configuration Biogas treatment and Storage De-watering Removal of Hydrogen Sulphide Removal of oxygen and nitrogen Removal of ammonia Removal of siloxanes Removal of particulates Removal of Carbon Dioxide (Upgrading) New Developments for Biogas treatment Biogas Storage Low pressure storage Medium and high pressure biogas storage Biogas Monitoring, Composition, Quality and Pressure Gas flaring - Enclosed (Ground) flares Indicative BAT requirements for biogas treatment Energy recovery CHP Engines Internal Combustion Engines Gas Turbines Fuel Cells Connection to the National Gas Grid Biogas boilers Upgrade to biomethane Indicative BAT requirements for Basic Energy Requirements Digestate treatment and storage Digestate Treatment Nutrient Stripping Storage of Digestate Indicative BAT requirements for digestate treatment and storage Emissions control and abatement Combustion Exhaust Emissions | Waste preparation Bag splitter Shredder Rotating drum Mechanical separation Conveyor systems Trommel screens Disc screens/V screens Manual separation Magnetic separation Eddy current separation Optical separation Biological treatment Aerobic treatment of organic sub fraction Biodrying Biostabilisation Anaerobic digestion Heat treatment Autoclaving Continuous heat treatment Mechanical preparation |
| Odour management, monitoring & abatement Biofiltration Biofilter design Operational requirements Filter media Wet / chemical scrubbers Ozone treatment Activated Carbon Regenerative thermal oxidiser Bioaerosols Indicative BAT requirements for Odour Control Fugitive Emissions to Air Nuisance- bio-aerosols, odour, noise, vermin, dust, litter, light Point Source Emissions to surface water, sewer Nature of effluent Indicative BAT requirements for point source emissions to surface water and sewer Point source emissions to groundwater Indicative BAT requirements for point source emissions to groundwater Emissions of substances not controlled by emission limits to surface water, sewer and groundwater Indicative BAT requirements for emissions of substances not controlled by emission limits to surface water, sewer and groundwater Emission Monitoring Impact assessment |