CHAPTER 4 ~ TECHNIQUES TO CONSIDER FOR THE DETERMINATION OF THE best available techniques RELEVANT TO BIOLOGICAL TREATMENTS

Contents

1	Techniques generally applicable to all biological treatments	4

1.1	Waste pre-acceptance procedures	4

1.2	Waste acceptance procedures	5

1.3	Storage & handling of incoming waste	6

1.4	Traceability - waste in, product out	7

1.5	Environmental management systems and quality management systems	9

1.6	Resource and energy efficiency measures and measures to reduce raw materials consumption	11

2	Techniques specific to each biological treatment type	12

2.1	Techniques specific to all composting systems	12

2.1.1	Waste acceptance procedures	12

2.1.2	Storage & handling of incoming waste	13

2.1.3	Preparation of wastes for composting process	13

2.1.4	Emissions to water	14

2.1.5	Emissions to air	16

2.1.6	Product preparation	19

2.2	Specific techniques to consider for outdoor composting	21

2.2.1	Storage & handling of incoming waste	21

2.2.2	Preparation of wastes for composting process	21

2.2.3	Process monitoring & control specific to outdoor composting	22

2.2.4	Emissions to water	23

2.2.5	Emissions to air	26

2.2.6	Energy efficiency measures	32

2.2.7	Measures to reduce raw materials consumption	33

2.3	Specific techniques to consider for indoor composting	33

2.3.1	Storage & handling of incoming waste	33

2.3.2	Process monitoring & control specific to indoor composting	34

2.3.3	Emissions to air	35

2.3.4	Energy efficiency measures and measures to reduce raw materials consumption	37

2.4	Specific techniques to consider for anaerobic digestion	38

2.4.1	Waste pre-acceptance and acceptance procedures	38

2.4.2	Storage & handling of incoming waste	39

2.4.3	Preparation of wastes for AD process	40

2.4.4	Process monitoring & control specific to AD	40

2.4.5	Emissions to water	42

2.4.6	Emissions to air	42

2.4.7	Energy efficiency measures	44

2.4.8	Product preparation	45

2.5	Techniques to consider for mechanical biological treatment (MBT)	45

2.5.1	Storage & handling of incoming waste	47

2.5.2	Process monitoring & control specific to mechanical biological treatment (MBT)	48

2.5.3	Emissions to air	48

2.5.4	Energy efficiency measures and measures to reduce raw materials consumption	49

2.5.5	Product preparation	49

2.6	Techniques specific to other biological treatments …	50

# Techniques generally applicable to all biological treatments

## Waste pre-acceptance procedures

Description

Systems and procedures should be in place to ensure that wastes are subject to an appropriate technical appraisal. This is to ensure their suitability for the proposed treatment route prior to acceptance at the plant.

Waste should only be accepted at the facility if suitable for the relevant biological treatment. The plant operator should establish and maintains detailed written procedures for the acceptance and handling of wastes. These procedures should provide for the pre-clearance and characterisation of waste types proposed to be accepted at the facility and listed in the site waste management license/permit.

The procedure should contain the following items depending on the type of waste/installation

- Waste type according to the European Waste List or national waste code system

- General information (contact details of the waste producer, processes producing the waste, conditioning characteristics of the waste, all relevant information necessary for planning waste handling)

- Characterisation, which may, if appropriate, involve sampling and testing or other type of assessment (e.g. visual assessment), particularly in the event that potential contamination may be present.

- Compliance with the authorised waste types as listed in the waste license/consent and with proposed treatment

- Delivery plan

- Internal audits to assess compliance with the pre-acceptance procedures

- Periodic verification of the initial characterisation may also be required for specific waste streams.

The type of initial assessment required to characterise the waste and periodic verification will vary depending upon:

- the nature of the waste;

- the process to be used;

- the quality requirements of final output products produced and their intended use; and

- what is known about the waste already.

The initial assessment and periodic verification required shall be proportionate to the risk posed by the type and nature of the relevant waste.

The results of all assessments or analyses should be kept within the tracking system.

Achieved environmental benefits

These techniques help the operator to improve the knowledge of the waste input to be treated and the potential related environmental issues related; they also reduce the risk of accidents or bad operations. The rigour with which this characterisation is done is essential to the subsequent waste treatment operations. However the extent of such characterisation will be dependent on the type and nature of waste.

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Applicable to all biological treatments

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Example plants

Not identified at this stage

Reference literature

EA, 2013. Draft Sector guidance note ‘How to comply with your environmental permit. Additional technical guidance for: composting and aerobic treatment sector. LIT 8705, Report version 1.0’

## Waste acceptance procedures

Description

On-site verification and compliance assessment needs to take place to confirm: 1) the identity of the waste, 2) the description of the waste, and 3) the consistency with the pre-acceptance information and proposed treatment method.

Some acceptance techniques and procedures (after the pre-acceptance) applied to assess waste are given in the lists below, these include:

- Waste is accepted at the facility from known customers or new customers subject to pre-acceptance procedures.

- An authorised person shall be on site to receive the waste materials during opening hours.

- The operator should have clear and unambiguous criteria for the rejection of wastes or any actions to be taken to remove or reduce physical contaminants or any other unsuitable content prior to processing, together with a written procedure for tracking and reporting non-conformance.

- The operator should verify accompanying documents and compliance with acceptance criteria. Waste arriving at the facility are certified (as to source), weighed, documented and directed to the waste reception or intermediate waste storage area. The kind, origin and quantity of feedstock arriving at the installation should be recorded at the weighbridge.

- The operator should have a clear procedure to ensure that accepted waste is unloaded in the right storage area depending on the following treatment procedures (pre-treatment such as unpacking, shredding, screening, blending of specific feedstock types before feeding into the biological processing unit).

- Where possible, each load of waste arriving at the waste reception facility is inspected upon tipping within this facility. Only after such inspections the waste is processed for recovery. If the inspection indicates that the wastes fail to meet the acceptance criteria, then such loads are stored in a dedicated quarantine area and dealt with appropriately.

Achieved environmental benefits

These techniques prevent unsuitable wastes being accepted, which could otherwise lead to adverse reactions or uncontrolled emissions, and these techniques therefore ensure that the accepted waste is suitable for the activity. Moreover, this minimises the time the vehicle delivering the waste is kept waiting preventing problems due to, e.g. accidents, leaks.

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Applicable to all biological treatments

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Example plants

Not identified at this stage

Reference literature

EA, 2013. Draft Sector guidance note ‘How to comply with your environmental permit. Additional technical guidance for: composting and aerobic treatment sector. LIT 8705, Report version 1.0’

## Storage & handling of incoming waste

Description

General techniques for storage and handling of incoming wastes include:

- The storage area is appropriately sized to accommodate the expected volume of waste, and, if there are no space constraints, a dedicated area for off-loading and inspections of input material loads, a dedicated quarantine area for unacceptable or rejected loads and any area allocated to pre-treatment.

- The storage area for putrescible, non woody feedstock is designed to facilitate complete emptying and cleaning including drainage to allow discharge of wash waters into gullies and to a sump for use within the process or to be discharged into sewers.

- All storage areas for putrescible, non woody feedstock have an impermeable or paved surface with sealed drainage, to prevent any spillage entering the storage systems or escaping off-site. The level of protection measures shall be proportional to the risk of surface and/or ground water pollution.

- The design should prevent the contamination of clean surface water.

- Run off and leachate (dirty water) are collected and collected in a sump or lagoon.

- If there are no space constraints, waste is stored under appropriate conditions in a designated area to avoid putrefaction, odour generation, the attraction of vermin and any other nuisance or objectionable condition.

- Storage provision may have to take into account situations where the land-bank may be unavailable for prolonged periods, for example, where the land is waterlogged or frozen.

Achieved environmental benefits

The appropriate and safe storage of wastes helps to reduce fugitive emissions and the risks of leakages.

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Applicable to all biological treatments

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Example plants

Not identified at this stage

Reference literature

EA, 2013. Draft Sector guidance note ‘How to comply with your environmental permit. Additional technical guidance for: composting and aerobic treatment sector. LIT 8705, Report version 1.0’

## Traceability - waste in, product out

Description

It is best practise to establish a waste tracking system, which begins at the pre-acceptance stage. A record should be raised with an enquiry (given a unique reference number) which, if the waste disposal enquiry results in waste arriving at site, should “follow” the waste during its acceptance, checking, storage, treatment or removal off-site. If the waste is a regular arising, then the document should be unique to that waste stream. All records relating to pre-acceptance should be maintained at the facility for cross-reference and verification at the waste acceptance stage. The length of time records should be held will be determined by whether the waste is actually delivered to the site or likely to be delivered.

Records pertaining to waste delivered to the facility should be kept for a minimum of three years.  Batch tracking is good practice for good operational control of the process and is often required to meet the requirements of quality assurance schemes for compost and digestate products.

Records

The tracking system should operate as a waste inventory/stock control system and include as a minimum:

- date of arrival on-site

- producers details

- all previous holders

- a unique reference number

- pre acceptance and acceptance analysis results

- package type and size

- intended treatment/disposal route

- record accurately the nature and quantity of wastes held on site,

- where the waste is physically located in relation to a site plan

- identification of operators staff who have taken any decisions re acceptance or rejection of waste streams and decided upon recovery / disposal options

Achieved environmental benefits

The system provides documentary evidence of the treatment given to a certain waste, detailing when the waste has entered the site, where it has come from, with which other compounds has it been mixed and stored and where and when it has been shipped. These techniques enable the waste treatment operator to:

- take advantage of any synergies between wastes

- prevent unwanted or unexpected reactions

- ensure that emissions are either prevented or reduced

- manage the throughput of wastes.

Cross-media effects

Not identified

Operational data

Computer databases and manual systems are required. Implementation of an effective system also requires additional administrative work. Traceability systems need to question what exactly has to be traced and when.

Applicability

Widely applied in the WT sector. In the case of small WT plants, the adaptation of some traceability systems (e.g paper to computer based) may be difficult. The application of some of the techniques mentioned above, may not be possible when installations operate on a continuous or semi-continuous basis. Some examples are when waste liquids from different batches are put together into the storage tank, when solid wastes are put into the bunker and mixed with other waste or when the physico-chemical properties of the waste change. Traceability systems for small volumes or quantities is more difficult to apply.

Economics

Not identified at this stage

Driving force for implementation

To help the operator manage the installation. It is commonly demanded by the waste authorities of the waste producer, to report that the waste is treated according to all relevant legislation and technical rules. This system helps as well to track how and when the treatment has been carried out.

Example plants

Commonly used in WT installations. Fundamentally important for the waste transfer installations.

Reference literature

EA, 2013. Draft Sector guidance note ‘How to comply with your environmental permit. Additional technical guidance for: composting and aerobic treatment sector. LIT 8705, Report version 1.0’.

2006 Waste Treatment BREF.

## Environmental management systems and quality management systems

Description

Environmental management systems

An effective management system should be in place to ensure that all appropriate pollution prevention and control techniques are delivered reliably and on an integrated basis.

Certified environmental management systems (EMSs) as well as non-certified systems should be accepted. The level of information and control should be proportional to the risk each activity may have to the environment or on process control.  .

When EMSs are certified, certification to the ISO 14001 standard or registration under EMAS (EC Eco Management and Audit Scheme) (OJ L114, 24/04/01) should be sought. Both certification and registration provide independent verification that the EMS conforms to an auditable standard. EMAS now incorporates ISO 14001 as the specification for the EMS element; overall EMAS has a number of other benefits over ISO14001 - including a greater focus on environmental performance, a greater emphasis on legal compliance, and a public environmental statement.

The management system should include information about the condition of the land before operations are started, and how the land has been protected during the life of the permit and site closure. When the site permit/licence is surrendered, the operator should be able to show you have taken the necessary measures to avoid any pollution risk resulting from your activities and the site has been returned to a satisfactory state.

Quality management systems

Quality management systems play a fundamental part in good processing and product and should be encouraged. Providing written procedures, monitoring of the process, recording and auditing that procedures have been followed and remain efficient, practical and effective are key to process control.

Examples of quality management systems implemented by the biological treatment sector in Europe are:

QMS: ISO 9001, Dutch Keurcompost QAS, Vlaco QAS, ECN-QAS, BSI PAS 100 and PAS 110, Irish compost QAS, KGVÖ/ÖNORM S 2206, BGK RAL Gütezeichen (German quality label for compost, digestate and sewage sludge compost).

Technical competence

Operators holding waste licence/permit for installations should be competent to deal with the environmental risks associated with their activities throughout the life of the license/permit.

Operators should ensure that staff are suitably trained and qualified for the management and operation of a composting facility. Any facility undertaking a specified waste management activity under an license should be operated by suitable technically competent management.

Training systems, covering the following items, should be in place for all relevant staff:

- awareness of the regulatory implications of the waste license/permit and how this impacts their work responsibilities and activities;

- awareness of all potential environmental effects from operation under normal and abnormal or extreme circumstances (e.g. extreme weather, plant failure, emergency)

- prevention of accidental emissions and action to be taken when accidental emissions occur

- reporting and accountability procedures within the management structure of the facility

The skills and competencies necessary for key posts should be documented and records of training needs and training received for these post maintained.

The key posts should include contractors and those purchasing equipment and materials

The potential environmental risks posed by the work of contractors should be assessed and instructions provided to contractors about protecting the environment while working on site.

Where industry standards or codes of practice for training exist they should be complied with.

Operations and maintenance

Effective operational and maintenance systems should be in use for all aspects of the process especially where failure could impact on the environment, in particular there should be:

- documented procedures to control operations that may have an adverse impact on the environment

- a defined procedure for identifying, reviewing and prioritising items of plant for which a preventative maintenance regime is necessary

- documented procedures for monitoring emissions or impacts, or where this is not possible, to control and optimise the process so impacts are minimised.

- a preventative maintenance programme covering all plant, whose failure could lead to impact on the environment, including regular inspection of major ‘non-productive’ items such as tanks, pipe work, retaining walls, bunds, ducts and filters

Accidents/incidents/non-conformance

- There should be an accident plan which:

  - identifies the likelihood and consequence of accidents and emergency

  - identifies actions to prevent accidents and mitigate any consequences

- The accident management plan should consider and have procedures for dealing with events which effect the day to day operation of the facility e.g. risks and impact of flooding and fires

- There should be written procedures for handling, investigating, communicating and reporting actual or potential non-compliance with operating procedures or emission limits.

- There should be written procedures for handling, investigating, communicating and reporting environmental complaints and implementation of appropriate actions.

- There should be written procedures for investigating incidents, (and near misses) including identifying suitable corrective action and following up procedures.

Achieved environmental benefits

An effective management system should be in place to ensure that all appropriate pollution prevention and control techniques are delivered reliably and on an integrated basis.

Applicability

The components described above can typically be applied to all IPPC installations. The scope (e.g. level of detail) and nature of the EMS (e.g. standardised or non-standardised) will generally be related to the nature, scale and complexity of the installation, and the range of environmental impacts it may have.

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Example plants

Not identified at this stage

Reference literature

The Composting Association, 2005. The Composting Industry Code of Practice. http://www.organics-recycling.org.uk/dmdocuments/Composting_Industry_Code_of_Practice.pdf.

EA, 2013. Draft Sector guidance note ‘How to comply with your environmental permit. Additional technical guidance for: composting and aerobic treatment sector. LIT 8705, Report version 1.0’

The Environment Agency provides Horizontal guidance for ‘H6 Environmental Management Systems’ guidance is provided in the link included in Site Condition Reporting (guidance note H5).

## Resource and energy efficiency measures and measures to reduce raw materials consumption

Description

In order to use energy efficiently and to reduce raw materials and chemicals consumption, it is best practice to follow any one or a combination of the following techniques:

Energy efficiency audit

The plant carries out an audit of the energy efficiency of the site within one year of the date of commencement of the plant activity. The energy efficiency audit is repeated at intervals as required by the Regulator. The audit identifies all practicable opportunities for energy use reduction and efficiency and the recommendations of the audit will be incorporated into the plant management system targets.

Water recycling and reuse

The plant identifies opportunities for reduction in the quantity of water used on site including recycling and reuse initiatives, wherever possible. Reductions in water usage shall be incorporated into the plant management system targets.

Optimise the water reuse, taking into account the legal requirements (odour minimisation), technical requirements (need of water for optimised aerobic degradation) and sanitisation requirements (non recontamination of compost).

Assessment of efficiency of use of raw materials

The plant undertakes an assessment of the efficiency of use of raw materials in all processes, having particular regard to the reduction in waste generated. The assessment takes account of best international practice for this type of activity. Where improvements are identified, these are incorporated into the plant management system targets.

Achieved environmental benefits

Not identified at this stage

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Example plants

Not identified at this stage

Reference literature

Text provided by Percy Foster. Need to identify reference

# Techniques specific to each biological treatment type

## Techniques specific to all composting systems

### Waste acceptance procedures

At composting sites each delivery of input material is normally visually inspected at an appropriate location and assessed against the stated maximum acceptance criteria. Impurities (plastics, metals, glass etc.) are normally the most significant issue for composting as they can undermine the quality of the compost produced and its acceptance in the market place.

### Storage & handling of incoming waste

- Some input woody materials (bulky bush and tree cuttings) are stored in a dedicated area for blending with other incoming biowastes.

- The design of the feedstock reception and storage area should be considered as an integral part of site planning and design. Adequate provision must be made for the acceptance of seasonal peak volumes of delivery such as those occurring during the spring and autumn seasons.  In addition space needs to be made available for the storage of amendment material for use in blending feedstocks prior to shredding.

- Depending on the feedstock type (C:N ratio, degradability), the holding time for feedstock material stored prior to processing is a significant factor in a site's potential for odour generation and should therefore be minimised.  Untreated and properly mixed material left fur uncontrolled decomposing prior to shredding can increase the generation of odours.

- The separate storage of different waste types may be necessary to create specified compost products (e.g. green waste compost, biowaste compost, bark compost, sludge compost)

### Preparation of wastes for composting process

Description

- The operator may mix input materials in order to achieve a consistent and appropriate C:N ratio in the batch. A balanced C:N ratio is essential for effective composting to take place. A normal carbon to nitrogen ratio (C:N ratio) for composting is regarded as being between 25-40:1. Both available carbon and nitrogen can be achieved from literature data or, otherwise measured in the laboratory and appropriate mixtures calculated. However, laboratory analyses are both expensive and probably unnecessary unless new or novel feedstock needs characterising.

- It is common practice to mix shredded woody garden and park waste with incoming easily degradable feedstock at up to 60% by volume to ensure that porosity as well as a balanced C:N ratio is maintained within the feedstock mass.  This will provide a high surface area of ligneous carbon accessible for the microflora and also maintain the feedstock in an aerobic condition for longer than would otherwise be the case. It also allows the addition of sufficient water to optimise the moisture content.

- Shredding is essential for most feedstock materials, to reduce the size of the incoming feedstock. In addition it will assist in the blending and mixing of the feedstock.  This activity increases the surface area of the material, allowing for faster degradation to take place.

Achieved environmental benefits

These procedures are fundamental to enable process optimisation and therefore minimisation of odour or other type of emissions.

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Reference literature

The Composting Association, 2007. An industry guide for the prevention and control of odours at biowaste processing facilities (available at http://www.organics-recycling.org.uk/dmdocuments/Industry_guide_for_prevention_and_control_of_odours.pdf).

### Emissions to water

Description

Leachate

Organic material has the potential to be very polluting to both watercourses and groundwater. All material for composting, compost and leachate should therefore be stored so that no contamination of these surface waters or ground waters can occur.

Any contaminated water that flows over the ground, through the soil, or enters surface water drains has the potential to pollute surface waters or ground waters in the vicinity of your site. Surface waters or ground waters include streams, rivers, lakes and groundwater.

A distinction should be made between leachate seeping from compost piles and windrows and surface water from traffic surfaces and uncontaminated rainwater from buildings. Composting can create leachate as a result of high moisture levels in biowaste and putrescible waste and from natural precipitation seeping through active or curing compost piles. The highest potential for release is in the first two to three weeks and generally relates to thermophilic conditions.

Leachate has a high content of organic substances, which is highly polluting to surface water, groundwater, plant life and can cause ground contamination. The design of the site should not only be targeted to contain any leachate, but if possible to recirculate it into new compost batches as a wetting agent.

Leachate is a liquid that can be generated when rain water or surface water mixes with raw feedstock materials, composting materials or finished compost product. To comply with local and national water quality standards, all liquids generated from raw waste materials or leachate from composting materials must be minimised, collected and reused within the composting process or disposed of properly through a sewer line or through tankering to a waste water treatment plant. You should use as much leachate as possible to control the moisture of the composting process to reduce the cost of having it tankered offsite or disposed of via a sewer line connected to the local waste water treatment plant.

In-vessel composting systems are designed to contain, collect and control leachate. Experience from the operation of containerized systems in the U.S. shows that only 40-120 litres of leachate are generated per vessel (30m³ in size) during the two week composting cycle, depending on the type of materials composted and the moisture level of the feedstock materials. Once collected in an underground leachate tank, the liquid can be reused in the beginning of the composting process for wetting fresh feedstock materials in the facility’s mixing procedure when needed. Otherwise, the leachate can be disposed of properly via an on-site sewer connection or pumped out of the tank and transported to a waste water treatment plant via a tanker truck. Because leachate from in-vessel systems are captured and collected, it will not penetrate into the ground and affect ground water or be carried away with surface water and pollute nearby water courses. This is one of the many advantages of using an in-vessel system.

Leachate can also be generated during the outdoor curing process after in-vessel processing. All curing pads should be graded so that leachate can be collected with the use of a catchment system to intercept and direct the liquid to a catch basin and underground storage tank or aerated storage lagoon. Because the materials on the curing pad have already met their time and temperature requirement for pathogen reduction in the in-vessel digesters, this liquid can be pumped out of the tank or lagoon and reused in the curing process. This can be done when materials on the curing pad are turned or it can be sprayed on top of the curing piles when the tank is full. Because the curing process can be a net user of water, especially if an aerated static pile system is used, this helps keep the moisture level up during the curing process and prevents materials from drying out and slowing down the composting process.

Finally, leachate can be generated from finished compost piles while they are waiting to be screened or from screened piles of compost. To minimise leachate generation, these piles can be covered with a tarpaulin or be placed within a roofed or covered area. As with the tipping building, the compost screening and storage building floors need to be graded to drains which should be connected to the underground leachate collection tanks or lagoon for the curing pad. Since the finished product has gone through its time and temperature requirement for pathogen reduction, this liquid can be reused anywhere in the composting process including initial mixing of feedstock materials or the wetting of materials on the composting and curing pads.

Leachate should be collected separately via a leachate collection system, which should be distinct from the surface water drainage system. If required the leachate can be stored in tanks or lagoons as an interim measure.

The protection of controlled waters by adequate site surfacing and containment are essential in the control of leachate.

To minimise the generation of leachate, the tipping area should be enclosed within a building to prevent rain water from mixing with raw feedstock materials.

The floor of the tipping building should be graded to a catch basin so that any liquids within the building can be captured and directed via underground piping to the underground leachate storage tank.

If leachate is generated in sufficient quantities, it can be recirculated into the beginning of the composting process during the feedstock preparation stage and it may be advisable to provide a collection system in order to aid the reuse of these liquids to avoid costly on-site treatment or off-site disposal.

Any recirculation of leachate should be undertaken with great care, as it may become a potential source of odour or reintroduce pathogens into pasteurised compost, i.e., compost that has already met its time and temperature requirements for pathogen reduction under the ABP regulations.

Any leachate that cannot be recirculated into the composting process must be collected and tankered away or directed to a sewer inlet for treatment at a waste water treatment plant, all with the appropriate consent.

Surface Water

Surface water at compost sites is really the ‘clean’ water of rain water from roofs of sheds, and site surfaces. Where possible it should be collected and stored separately from ‘dirty water’ or leachate, to reduce the volume of dirty water to be treated.

As the entire permanent site will be surfaced with tarmac or concrete, proper surface water management will be important to protect nearby water courses. The entire site should be graded and bunded or curbed to facilitate the collection and drainage of surface water to catch basins that direct this material to a storage lagoon for reuse in the composting process.

Surface water can be managed or used effectively on site in the following ways:

- Sprayed on working surfaces on the site for dust control;

- Moisture control at start and during the composting and curing stages;

- Surface water can also be stored in settling ponds to let the sediment settle to the bottom

- of the pond before being discharged to local water courses; and

- It can also be treated in reed beds to reduce the polluting potential before discharge to

- local water courses.

Achieved environmental benefits

To minimise emissions to water from composting activities.

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Reference literature

Cré-Composting and Anaerobic Digestion Association of Ireland (2011) Certificate in Compost Facility Operation Manual. Dundalk, Louth, Ireland.

### Emissions to air

#### Odour

Description

There are a number of good management practices that can be used in order to prevent the generation and subsequent release of odours off site. Many of these techniques are complementary. These are as follows:

- It is essential that odorous wastes, or those which could become odorous before processing, be immediately identified upon delivery to the site.

- It is vital that aeration is controlled to ensure sufficient air is supplied to the composting material. During this most active composting stage at the high temperature, there can be moisture loss and water will need to be replaced to ensure optimal conditions are maintained.

- The operator may mix input materials in order to achieve a consistent and balanced C:N ratio in the batch.

- Each accepted load is assessed to identify the processing requirements and any potential problems. Any moist or wet loads accepted are routinely blended with other woody inputs or oversize material upon discharge to reduce the possibility of anaerobic conditions developing and so causing and odour release.

- Batch irrigation will be undertaken when the parameters for moisture content fall below the critical limits.  The site uses either re-circulated compost leachate or fresh water if leachate is not available.

- Effective microbes are an engineered mix of natural beneficial microbes, usually made up of lactic acid bacteria, yeast, and actinomycetes. Some mixes include enzymes and other nutrients to stimulate aerobic microbial activity. By providing the optimal mix of microbes to a composting process, odorous compounds can be reduced as they are being consumed as a food source by the microbes. This inoculation can also help speed up the composting process. The effective microbes can be added by placing a misting spray bar over the output conveyor of a shredder or into the mixer when feedstocks are blended together.

- Masking agents come in range of perfumes (e.g. eucalyptus and strawberry). Masking agents are misted into the air within tipping buildings or around the perimeter of the composting site using a series of nozzles under compressed air. The efficiency of the system is dependent on weather conditions.  The masking agents work by using sweet smelling perfumes to mask the odorous compounds from the composting process.

- An ‘Odour Management Plan’ should be prepared for each composting site to identify the appropriate measure to mitigate odours at the site.

Achieved environmental benefits

To minimise odour emissions to air from composting activities.

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Reference literature

Cré-Composting and Anaerobic Digestion Association of Ireland (2011) Certificate in Compost Facility Operation Manual. Dundalk, Louth, Ireland.

#### Bioaerosols and dust

Description

There are a number of good management practices that can be used in order to prevent the generation and subsequent release of bioaerosols and dust off site.

- In plants which have active vehicle movements outside there should be a ‘dust management plan’ in place. Typically preventative measure in dry weather is site roads and any other areas used by vehicles are sprayed with water as and when required to minimise airborne dust nuisance.

Other measures include:

- Covering of skips to and from site and in storage.

- Where dust creation is unavoidable, use of sprays, binders, stockpile management techniques, windbreaks etc. are employed based on risk assessment

- Wheel and road cleaning (avoiding transfer of pollution to water and windblown particulate)

- Regular housekeeping

A plant should identify activities that could potentially generate bioaerosols. Normally the following activities can create dust and bioaerosols:

- Vehicle and equipment movements around the site

- Shredding of feedstock or bulking materials

- Formation and turning of compost piles

- Forced aeration

- Screening of finished compost

- The spraying of leachate when it is reused in the composting process

Measures to minimise bioaerosols include:

- If present, on a daily basis scrubbers and biofilters should be monitored to ensure optimum performance, i.e. operating at correct pH and moisture, ensuring adequate chemical wash replenishment and replacement and pressure drop monitoring.

- Some plants might use misting/masking agents and atomising units at the boundary or operationally placed. If used will be fully operational and maintained.

- It is good practice to have a wind sock to monitor wind direction on site and also to record weather data.

Dust and bioaerosol control measures can be simple to achieve and are usually in the form of a scheme, which the site operator has developed in conjunction with the regulators. The following are measures that can be used to help minimise or control dust and bioaerosols from your composting facility include:

- Maintain adequate moisture content within all stages (>40%) of the composting process to avoid the input feedstocks, composting materials and finished compost from drying out and potentially generating dusts when handled.

- The formation or turning of windrows or piles should be avoided if possible on windy days. Screening and shredding should also be undertaken when wind speeds are calm or wind direction is away from sensitive receptors.

- Site surfaces such as roads and tracks should be regularly dampened down and/or swept to suppress dust and bioaerosols.

- Plant and machinery should be well maintained to avoid generation of dust or particulates.

- The use of enclosures for screens and hoppers can be useful in reducing dust dispersal.

- Physical barriers such as mounds or walls can reduce the amount of dust leaving a site.

- Site construction & specific landscaping techniques can contain dusts that are generated.

- The shredding, mixing, pile turning and/or screening within buildings can provide excellent containment for the control of dust.

- The workforce should try to limit their exposure by being upwind of any screening, shredding or turning and staying within vehicle cabs or other protected environments.

- The use of vehicle cabs with positive pressure systems will also provide protection from dust and bioaerosols.

- Workers should use Personal Protective Equipment (PPE) such as masks when exposure to dust and bioaerosols is high.

- At the end of the composting process, the material is typically screened to remove oversized material. The moisture content of compost has to be correct (<35%), because if the material is too dry it will create a lot of dust. This will become a potential nuisance if the screening is conducted outdoors.

Achieved environmental benefits

To minimise bioaerosols and dust emissions to air from composting activities.

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Reference literature

Cré-Composting and Anaerobic Digestion Association of Ireland (2011) Certificate in Compost Facility Operation Manual. Dundalk, Louth, Ireland.

### Product preparation

Product preparation could involve but is not limited to:

a) screening to create one or more compost grades (in terms of particle size range) and/or remove any physical contaminants;

b) blending with other materials, composts, products, or additives; and/or

c) increase or reduction of moisture content.

A grade of compost may be used as more than one type of product and/or in more than one type of product.

Screening is a process stage that separated compost particles according to their size, in order to achieve one more separate grades of compost in terms of particle size range.

When drum screens are used, it should be noted that:

- When the material to be screened is wet (> 35% moisture content), this results into reduced screening capability, low screening yield, and high screen overflow.

- When the material to be screened is dry (< 35% moisture content), this results in good screening capability, good screening yield, but also significant dust emissions possibly associated with microbe emissions as the moisture levels decrease (< 20%).

Products should be prepared under appropriate conditions, for example, product should not be stored at the bottom of a slope where raw materials are accepted for composting or composted.

The compost should be stored so that it is recognisable from other batches. Compost can be stored in bags or stockpiled subject to customer’s delivery and/or handling requirements.

Achieved environmental benefits

Not identified at this stage

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Reference literature

BSI PAS 100:2011 Specification for composted materials.

Waste Consult International and Gewitra, 2013. Determining Best Available Techniques for the Waste Treatments Industries in the Context of the Sevilla Process to Review the Best Available Techniques Reference Document (BREF) on Waste Treatments Industries. Treatment of Separately Collected Organic Waste  (Composting and Digestion). Commissioned by German Federal Environment Agency.

The Composting Industry Code of Practice. http://www.organics-recycling.org.uk/dmdocuments/Composting_Industry_Code_of_Practice.pdf.

## Specific techniques to consider for outdoor composting

### Storage & handling of incoming waste

Description

- Removal of contaminants and other extraneous constituents.

- In the case of intermediate storage of source separated biowaste and food waste from households, physical protection against wind drifting of light fractions (contaminants such as plastics) must be installed (fences, walls, fleece coverage)

Achieved environmental benefits

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Applicable to outdoor composting.

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Reference literature

Not identified at this stage

### Preparation of wastes for composting process

Description

- Shredding of woody raw materials may cause dust and bioaerosols to be emitted.

- Reduction of dust and bio-aerosols emissions can be achieved by spraying water or fogging onto the shredding process.

- In order to prevent uncontrolled fermentation the following feedstock shall be pre-processed and mixed for starting an accurate composting process at least within the time specified in the waste licence or, if this is not specified, within 48 hours

- Source separated food waste and biowaste from households;

- Fresh grass trimmings;

- Catering waste from central kitchens and restaurants;

- Unpacked residues from food industries, former food stuff; and

- Odorous sewage sludge.

Achieved environmental benefits

Waste preparation is necessary to ensure the composting process is optimised and does not result in uncontrolled emissions.

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Reference literature

Not identified at this stage

### Process monitoring & control specific to outdoor composting

Description

- In compliance with minimum requirements for the thermal hygienisation during the intensive composting phase as set by the regulator, temperature must be monitored accordingly.

- The temperature shall be recorded discontinuously or continuously, at least once per working day during the entire hygienisation period in each individual compost pile (windrow).

- The moisture should be controlled during the entire composting process by means of visual control as well as the fist squeeze test.

- During the intensive composting stage the following activities and data must be recorded in the operational diary:

- Feedstock composition of the individual compost batches;

- Batch codes;

- Merging of compost batches;

- Location of compost batches;

- Temperature profile;

- Moisture assessment (either a visual estimation or by using the squeeze test);

- Watering date and type of water used (well water, roof water; leachate water from intensive decomposition and tipping area; leachate water from maturation and compost storage area)

- Turning dates;

- If applicable aeration regime;

- If applicable, intermediate screening.

The importance of oxygen is its availability for the aerobic micro-organisms. However, as highlighted in the Composting Association’s Code of Practice, oxygen measurements only measure the freely available oxygen in the composting mass and do not take into account the Oxygen Uptake Rate. At high activity rates, oxygen can be consumed as fast as it is available with little if any ‘free’ oxygen left for measurement. The situation by itself does not necessarily indicate a stalled or oxygen-starved process or any risk of the system becoming anaerobic.

Achieved environmental benefits

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Reference literature

The Composting Association, 2005. The Composting Industry Code of Practice. The Composting Association, 2005. The Composting Industry Code of Practice. http://www.organics-recycling.org.uk/dmdocuments/Composting_Industry_Code_of_Practice.pdf.

### Emissions to water

Description

Waste water at an outdoor composting facility originates from the following process stages:

- Press water from fresh feedstock shortly after delivery;

- Process water (resulting from the cell maceration of decomposing feedstock);

- Waste water from cleaning/washing activities;

- Precipitation water in open areas (run-off water from compost piles surface as well as from traffic routes); and

- Precipitation water collected from roofs.

- Generally, leachate and run-off water may not be allowed to drain off into the soil without prior treatment, as it has the potential to pollute ground and surface waters.

- With possible exception of the storage area for woody garden and park waste, the storage and composting pad needs to be constructed out of a sealed pavement (hard standing) and capture waste water (leachate and run-off) in order to prevent any uncontrolled release of waste water to ground or surface water.

- There needs to be an adequate gradient on the concrete pad to ensure drain-off is effective;

- The appropriate dimensioning of the intermediate waste water tank taking into account the site size and rainfall in order to hold leachate (water that has percolated through the feedstock) and run-off from precipitation from all paved areas where compost or raw material is stored or treated.

- The sealed area must cover the following sectors of the composting plant:

- The tipping  and intermediate feedstock storage area for all input materials with the exception of woody materials (tree and bush cut-tings), straw, or similar biologically non active, carbon rich, dry feedstock;

- The storage area for non woody materials (food and kitchen waste, sludge, food processing waste, all materials with high water content and a high fermentability potential)

- The pre-processing area where feedstock are mixed, with the exception of the area where woody materials (tree and bush cuttings) only are shredded;

- The active decomposition area, irrespective of whether it is roofed or not

- The maturation area, irrespective of whether it is roofed or not; and

- The storage area for matured compost with the possible exception to be approved by the competent authority and taking into account at least:

    - local precipitation

    - ground and surface water protection

    - coverage by water repellent fleece or roof

- All storage and treatment areas must allow for the controlled drainage of all liquids to avoid water-logging at the windrow or feedstock base. This is achieved by constructing the composting pad on a slope to avoid water stagnating.  The minimum slope of the site is determined by the windrow height, annual precipitation, existence of roofing, the method of aeration and the presence of drain/aeration tubes.

- A waste water management plan must ensure adequate treatment and reuse of the waste water.

- Waste water needs to be collected and treated according to the requirements of water protection principles i.e. to prevent pollution of ground and surface wasters due to its high biological oxygen demand, the nutrient content (above all phosphorus and nitrogen) and potential pathogenic microorganisms.

- It must be distinguished between qualitative criteria for

- Direct discharge into rivers

- Direct discharge onto land

- Indirect discharge in internal or extern waste water treatment plants

Figure  illustrates an overview of possible treatment and uses of waste water from composting plants.

Figure xx: Options for waste water collection, treatment and use from feedstock storage, active decomposition and maturation area respectively

- Quality management measures with respect to quantitative reduction  and manage waste waters are:

- In case of heavy rainfalls or high precipitation areas, covering small  triangle windrows with geo-textiles or composting under a roofed structure ( this reduces the formation and the organic contamination of waste water and helps improve run-off management;

- Mixing feedstock with additives that provide a good structure and water holding capacity (e.g. shredded wood, bark, straw, oversize screenings, sawdust, leaves at a percentage of, loamy soils and mature compost;

- Composting on an organic, structure-rich foundation (e.g. shredded wood, bark, straw, oversize screenings, sawdust);

- Turning windrows to increase the rate of evaporation of water; and

- Adjusting the initial moisture content of the feedstock best adapted to the water holding capacity

- Adapting watering and irrigation of composting piles to the continuously decreasing total water holding capacity of from initial intensive composting down to maturation phase.

Achieved environmental benefits

Not identified at this stage

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Reference literature

Not identified at this stage

### Emissions to air

Relevant potential emissions to air include:

- Odour

- Dust

- Bioaerosols (associated with dust)

- Ammonia

In open/outdoor composting all of those are diffuse emissions inherently providing no to little options for direct regular monitoring of channelled emission components. Hence, end of pipe techniques for the abatement of emissions to air are in outdoor composting are only applicable if negative aeration techniques with a biofilter are installed.

Therefore, besides quality and operational process management aiming at the minimisation of emissions to air, specifically in the case of odour, dust and bioaerosols the selection of a suitable location for and outdoor composting plant is of utmost importance.

In this respect, it is not only the potential level of diffusely emitted compound, but the potential to cause not tolerable impacts on the health or the also the subjective wellbeing of potentially affected neighbourhood.

The general approach towards managing diffuse emissions to air from open processing (outdoor composting including pre- and post treatment steps) are summarised in the following chart. As an important element, the licensing procedure should include a diffusion modelling specifically for odour and dust/bioaerosols taking into account

- The local climate and topographic conditions;

- Existence and location of potential sensitive receptors (permanent residents, permanent working places, public institutions,  hospitals, schools, kindergartens, recreation areas, cure sites etc.); and

- Typical and worst case events of emission under routine plant management conditions.

Based on the assessment results using standard methodologies approved by the competent authority, the licensing authority approves the suitability of the foreseen location of the composting site and key management/operation requirements aiming ad minimisation of the risk of unacceptable impacts stemming from emission events are included in the quality management manual as part of the permit.

Figure XX: Integrated approach to manage diffuse emissions of odour, dust and bioaerosols in outdoor composting by means of modelled assessment as part of the licensing and operation management tools.

#### Odour

Description

Key criteria for controlling the formation and release (emission) of odorous substances in outdoor composting are:

- Mixture of the initial feedstock blend;

- Temperature profile;

- Moisture content;

- Free pore space for oxygen (fresh air) supply; and

- C:N ratio.

One of the most important measures aimed at effectively reducing odour emissions is the homogeneous mixing of different raw materials which helps establish adequate free pore space, continuous air exchange and, if optimised moisture level is provided, rapid decomposition of the primary and easily degradable organic substances. The correct mixing of shredded ligneous bulking agents of the right particle size composition therefore has to be managed carefully, and considered to be the most important pre-processing measure.

The temperature regime is another key factor influencing odours. High temperatures > 65/70 °C diminish the microbial diversity and thus slow down the decomposition process. Intermediate metabolite substances with high odour intensity are more likely to be generated. Intensified aeration or mechanical agitation, changing the heap diameter and watering can counter steer the effects of overheating. However in composting sites that operate in large windrows, temperatures can easily exceed 65/70°C for a limited period of time. Where operating conditions allow periods with temperatures above 65/70°C should not be prolonged.

Optimised water content at any stage of decomposition is a pre-condition for proper odour management. Process water and condensates may constitute a significant source of odours. An excess of water may cause anaerobic conditions especially in the bottom of windrows.  Therefore besides operating an effective watering system, sites also need to ensure continuous drainage of both process and surface waters.

Regular, visual control and the use of the ‘squeeze’ test as a mechanism to evaluate the correct moisture % is useful in ensuring that the process moistures are correct and assists in an optimised process.

Furthermore, the sufficient supply of oxygen to the microbial community must be guaranteed at all stages of composting.  These are described in the following table.

Table xx: Measures to prevent oxygen deficiency during composting (Bidlingmaier & Müsken, 1997)

| Measures against water surplus | Reducing the water input: Choose dry feedstock with a high water retention capacity Add dry additives (chopped/shredded wood, bark, sawdust, dry compost etc.) Optional in case of heavy rainfalls: Cover open triangle windrows with a geo-textile (drains off 80 to 90 % of rain water), Increase water release: Ensure initial ‘mix’ of materials is balanced Increase turning frequency without risking cooling down the process too rapidly Uncover the windrows on days with high evaporation potential Expose windrows to main wind direction |
| --- | --- |
| Measures to improve structure | Mix additional bulking agents (shredded bush cuttings) Increase bulking agents especially in the bottom of the heap. Create a basic layer with structure forming shredded wood Use some oversize as routine to ‘open’ the feedstock texture |
| Composting technology | Set up loose, well structured windrows for the initial intensive degradation phase The maximum height of a pile/windrow depends on decomposition age (the more mature, the higher the piles can be) structural stability of the whole mixture installation of a forced aeration system (alternating positive [blowing] and/or negative [sucking]) Through mechanical agitation (turning) new accessible surfaces are created and air exchange rates are increased. |

In open windrow systems without forced aeration operators need to ensure that there is sufficient and continuous air exchange reaching down to the central zone of the windrow. Those systems need to carefully balance windrow diameter, material composition (free air space, water content, and structural stability) and turning frequency.

In areas or seasons with high precipitation, reduced water evaporation can lead to water logging, so when cost effective to do so, triangle windrows could be covered with hydrophobic geo-textiles or placed under roofing.

Natural aeration in open windrow systems is based on the principle of convection and do not require the waste air to be treated as long as the process is managed properly. However, during the preliminary decomposition stages, mechanical agitation can cause odour emissions if the described parameters are not observed carefully.  Therefore in open windrow systems the site specific conditions have to be considered together with the feedstock properties and daily process management operations.

Specific operational measures to reduce odour emissions from open windrow composting systems are:

The immediate and efficient processing of delivered waste material with high potential of formation of odorous substances (e.g. food waste, fresh grass prunings);

- Mixing in well shredded and structured woody garden and park waste (maintaining sufficient storage /supply of bulking agents);

- Managing the decomposition process, e.g.

    - Regular turning to avoid anaerobic zones forming in windrows;

    - Limiting the size of the windrows; and

- Keeping the facility clean (regular cleaning of surfaces, equipment and all traffic routes etc.); and

- Turning the windrows only when there is an advantageous wind direction relative to the possible affected neighbourhood.

An important factor in open windrow composting is the annual extent and seasonal distribution of precipitation.

On sites with high annual precipitation, covering windrows (e.g. with a fleece/geo-textile) must be considered if no roofing is available. The risk of exceeding the water capacity of the composting material is greatest with smaller windrows, especially during late composting/maturation stages (where at temperatures < 40/45 °C the evaporation rate is diminished). In that particular respect, and if not covered with geo-textile or under roof, due to their favourable surface area/volume ratio larger windrows (ca. > 1.20 m high) and table windrows are less vulnerable to water logging through precipitation.

Windrows with an inherently high water content run a greater risk of forming anaerobic zones (due to the pores filling with water, rather than allowing gasses to migrate) and of causing odour nuisance. Moreover wet materials handicap the final value-added stages of the composting process (sieving, segregation of impurities).

In addition to the above, the following optional measures to prevent and manage odours can be considered:

- Adding clay soil or (dry) mature compost to the input material (up to ca 10/15 % (m/m)) thereby creating a sorption matrix for leachate water charged with odour active substances to bind to;

- Ensuring that the temperature of the composting material does not exceed 65 (C and should stabilise as soon as possible at about 50 to 55 °C even during the active decomposition phase;

- Covering smaller windrows (< 1,2 to 1.5 m high) with a water repellent fleece (geo-textile).

As part of the ‘Odour Management Plan’, the ‘complaints management’ in the case of single odour emission events should include:

- Name, address and telephone number of the complainant;

- Date, time of the complaint;

- Subject of the complaint;

- Operations carried out at the time of the complaint;

- Weather conditions (e.g. temperature, wind direction, rainfall);

- Operational measures due to the complaint;

- Communication with the complainant. There should follow an immediate reply to the complainant.

Achieved environmental benefits

Not identified at this stage

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Reference literature

Not identified at this stage

#### Bioaerosols and dust

Description

Partly still to be merged/ aligned with 2.1.5.2 for ALL composting plants!

Assessing the risks to human health from exposure to bioaerosols is inherently problematic, due to the lack of dose-response relationships (Böhm et al., 1998).  As such, “acceptable” maximum exposure levels or occupational exposure standards cannot be established.  Therefore composting facility operators need to establish measures (both technical and operational) to minimise bioaerosol and dust formation.

Effective measures are:

- An appropriate distance between a new plant and residential areas (sensitive receptors) should be established. Investigations have shown that in distances of 150 to 200 meters – depending on topography and dominant wind direction – natural background concentrations are attained (Amlinger et al. 2005);

- All materials handling areas and traffic routes need to be kept clean and moist (although water should not be allowed to build up and stagnate, as this will create an odour source);

- The following sub-optimal decomposition conditions in enclosed systems may lead to increased bio-aerosols emissions (e.g. Aspergillus fumigatus, mould spores) upon extraction of the pre-rotted material to an open maturation area.

- heterogeneous distribution of humidity, degradation and temperature,

- dry stabilisation, or pseudo-stabilisation by drying the material by means of intensive aeration;  or

- a retention time of less than 14 to 21 days without any intermediate turning of the material.

- Turning and materials handling should only be carried out on moist windrows in open windrow systems;

- In order to reduce the formation of bioaerosols, a number of essential measures can be implemented:

- Moistening of the windrows before and during every turning.  Fog sprays can be effective during manipulation, and some windrow turners allow spray systems to be incorporated.

- Maintaining appropriate levels of moisture in all composting materials:

- In case of critical locations (distance to sensitive receptor is less than 200 m):

- Materials handling needs to take into account daily climatic conditions;

- Turning machines should be equipped with rubber aprons to reduce the emission of dusts;

- All on-site regulations concerning the health and safety of employees need to be adhered to.

Achieved environmental benefits

Not identified at this stage

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Reference literature

Not identified at this stage

#### Ammonia

Description

Feedstock management related measures to reduce emissions of ammonia (NH3):

- C/N-Ratio: Within a narrow C/N-ratio, the NH3 emissions increase as the composting temperature and increase.  A C/N-ratio of > 25 minimises NH3 formation, however, as the ratio increases (to above 35) the rate of composting will slow down, as N will be rate-limiting;

- N-rich materials, (sewage sludge, fermentation residues, specific industrial wastes, poultry manure, household organic wastes [especially when kitchen waste and grass clippings are > 30 to 40 %]) must be blended homogenously with a sufficient amount of carbon-rich materials, to balance the C/N ratio;

- Water content: Ideally the moisture content should not be above 65-70% (m/m) at the start of the composting process, and should be maintained to between 50 to 60% (m/m) during the further process phases.

- Bulking/structural materials (These are required to maintain an adequate pore structure to allow air circulation): The ratio of structure-forming materials (shredded bush and tree cuttings, screen overflow, etc.) should – in dependence of C/N ration and structural properties of the individual constituents – be approximately 40 to 60 % (v/v).

- Mature compost – In order to facilitate the efficient formation of humic substances (humification) and the incorporation of volatile carbon- and nitrogen compounds into more complex compounds: the addition of approximately 10 to 15% (v/v) mature compost may be beneficial.

Achieved environmental benefits

Not identified at this stage

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Reference literature

Not identified at this stage

### Energy efficiency measures

I do not know what to describe here for now!

Description

Achieved environmental benefits

Cross-media effects

Operational data

Applicability

Economics

Driving force for implementation

Example plants

### Measures to reduce raw materials consumption

I do not know what to describe here for now! … Besides Waste Water Recycling

Description

Achieved environmental benefits

Cross-media effects

Operational data

Applicability

Economics

Driving force for implementation

Example plants

## Specific techniques to consider for indoor composting

### Storage & handling of incoming waste

Description

Specific techniques for storage and handling of incoming waste are:

- When required by the Competent Authority, storage of putrescible wastes is carried out in an enclosed area.

- Where the waste storage area is required to be in an enclosed building it includes a building ventilation system and an emission abatement system that maintains the building under negative air pressure in order to minimise fugitive odour,  and dust release from the building.

- The storage area for putrescible, non woody feedstock is designed to facilitate complete emptying and cleaning including drainage to allow discharge of wash waters into gullies and to a sump for use within the process or to be discharged into sewers.

- All storage areas for putrescible, non woody feedstock have an impermeable or paved surface with sealed contained drainage, to prevent any spillage entering the storage systems or escaping off-site.

- When storage is enclosed, exhaust air is captured, discharged and treated.

Achieved environmental benefits

Not identified at this stage

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Reference literature

Not identified at this stage

### Process monitoring & control specific to indoor composting

Description

Enclosed composting systems ensure that composting takes place in an enclosed environment, with accurate temperature and time control and monitoring and generally also controlled air flow.

The temperature is generally recorded continuously against time with the use of electronic sensors used in conjunction with programmable logic controllers and/or computer hardware and software.

When animal by-products are treated, the installation is required to comply with the minimum requirements for the thermal hygienisation as specified in the animal by-product regulations and approved by the Competent Authority.

It is normally challenging to monitor moisture during the composting process inside an enclosed building or vessel, due to health and safety issues.

During the intensive composting stage the following activities and data must be recorded in the operational diary:

- Feedstock composition of the individual compost batches;

- Batch codes;

- Merging of compost batches;

- Location of compost batches;

- Temperature profile;

- Watering date and type of water used (well water, roof water; leachate water from intensive decomposition and tipping area; leachate water from maturation and compost storage area)

- If applicable, aeration regime.

The importance of oxygen is its availability for the aerobic micro-organisms. However, as highlighted in the Composting Association’s Code of Practice, oxygen measurements only measure the freely available oxygen in the composting mass and do not take into account the Oxygen Uptake Rate. At high activity rates, oxygen can be consumed as fast as it is available with little if any ‘free’ oxygen left for measurement. The situation by itself does not necessarily indicate a stalled or oxygen-starved process or any risk of the system becoming anaerobic.

Achieved environmental benefits

Cross-media effects

Operational data

Applicability

Economics

Driving force for implementation

Example plants

### Emissions to air

#### Odour

Description

End of pipe techniques: the use one or a combination of the following abatement systems: biofilter, wet scrubber, activated carbon, bioscrubber, ozone treatment and acid scrubber.

Encapsulation with semipermeable ePTFE membrane covers

Encapsulated, positively aerated installations covered and sealed with semipermeable ePTFE membrane covers are a common method of treating emissions, such as odours, ammonia, VOCs, dust and bioaerosols from an active composting heap. In opposition to the known end of pipe means these systems realize the emission abatement at the point of source. The cover is formed by a textile laminate with the ePTFE membrane being the middle layer as the functional component.  The emission retention is based on the combination of the phenomena that a liquid condensate layer is generated on the inner surface of the cover which acts as a kind of bio washer layer dissolving the majority of the gaseous substances and the semipermeable behaviour of the membrane.

The design of an installation in which a semipermeable ePTFE membrane cover is used has to be tuned so that the cover is sealed to the installation interfaces to facilitate a slight backpressure and to ensure the exhaust air passage through the membrane.

The semipermeable ePTFE membrane cover when installed and maintained properly is feasible to achieve odour retention values of up to 95%.

Biofilters

Biofilters are the most common method of treating odours from a composting facility. Biofilters are based on the principal that microorganisms break down or consume some of the compounds within an odorous gas. A biofilter consist of a bed, typically called the biofilter media, and is usually made up of woodchips and mature compost. However, the bed can also be made from wood chips alone, bark, soil, peat, or other suitable media. The process air collected from the composting system is forced through the bed from the bottom with the use of a high speed, high pressure blower. The odorous compounds in the gas are then absorbed into a moist biofilm that surrounds the filter media. Within the biofilm is a diverse microbial community which then consumes the nutrients from the passing air flow as a food source, in effect breaking down the odour or nutrients within the process air or gases. Carbon dioxide, water, inorganic compounds and small amounts of odorous compounds are then released from the biofilter as by-products of the treatment process (Chiumenti et al., 2005).

A biofilter’s ecosystem is remarkably robust in its ability to remove pollutants and odours across a wide range of compounds and concentrations.  In terms of odour treatment, all composting process air from in-vessel and aerated static pile systems can be forced through a biofilter to treat residual off-odours. Biofiltration has been accepted in Europe and North America as the “best available technology” (BAT) for odour treatment at composting facilities. When operated and maintained properly, they are 90-95% effective in removing odorous compounds from the composting process air.

#### Scrubbers

Biofilters are not always effective with variable odour streams and in some cases a scrubber might be more effective, especially in the case of treating ammonia. Scrubbers can have a higher capital and operating cost, but require less space. Scrubbers come in many variations – re-circulating and single pass scrubbing solutions, acidic or alkaline scrubbing solutions, oxidising scrubbing solutions or packed column, plate or spray towers (Jacobs et al., 2007). Air from the composting process is collected and passed through a large cylinder/ tower and is washed in a mist of absorbent liquid. The liquid absorbs some of the odour compounds and the liquid is transferred to a tank or to a waste water treatment plant. The liquid can be recycled back into the process or be reused in the composting process.

Many composting facilities are using a combination of wet scrubbers and biofilters for the treatment of odours from the composting process. Wet scrubbers are very good at removing ammonia and biofilters are good at removing volatile organic compounds, organic acids, sulfides and aldehides. Because ammonia has an inhibiting effect on biofilters, a combination of wet scrubbing first followed by treatment in a biofilter works best. This combination of odour treatment techniques has proven to be over 95% effective in removing odorous compounds from composting process air.

#### Ozone Treatment

Ozone (03) consists of three oxygen atoms. When ozone comes in contact with an odorous air stream, it oxidises the volatile compounds in the odour air stream and reduces the odour compounds and itself looses an atom and become oxygen (02). In practical terms, the system operates by passing oxygen through a chamber with two electrodes emitting an electrical charge to form ozone, which is then passed into a chamber of odorous air stream from the compost site where it attacks the odorous compounds and neutralises the odour (Jacobs et al., 2007).

Achieved environmental benefits

Odour complaints are the most common issue for composting plants. Management of odour is critical. Once odours are managed effectively the plant has significantly improved environmental benefits.

Cross-media effects

Operational data

Applicability

Economics

Driving force for implementation

Example plants

Reference literature

Cré-Composting and Anaerobic Digestion Association of Ireland (2011) Certificate in Compost Facility Operation Manual. Dundalk, Louth, Ireland.

#### Bioaerosols and dust

Description

Indoor systems whilst containing part of the composting process may still emit airborne microorganisms, especially is some operational activities continued to be carried out doors (for example, the bulk movement of organic materials or the maturation of compost in piles/windrows). With an in- door facility the biofilter might be a source of bioaerosols.

With an enclosed facility dusts are mainly generated from the screening of the final product. Some facilities enclosed the screen to reduce dust emissions within the plant.

Achieved environmental benefits

Bioaerosols and dust are a less of an issue compared to a outdoor facility where dust and bioaerosols could causes a nuisances to neighbours. As air from an indoor facility is treated mostly with a biofilter, the impact on neighbours is minimal when the air treatment system is working correctly.

#### Ammonia

High nitrogen content wastes (e.g. sewage sludge/ food waste) generate a lot of ammonia. This is managed by treating air with a biofilter. A more effective method is first to pass the air through a bioscrubber and then to a biofilter. The biofilter can be monitored for ammonia emissions to ensure it is working correctly.

### Energy efficiency measures and measures to reduce raw materials consumption

The main energy consumption in an indoor plant is from aeration fans and diesel used in loaders. A energy audit should be conducted of the processed to reduce energy consumption.

An indoor composting plant has the ability to control the composting process to provide the optimal conditions for composting e.g. aeration fans. As part of the process an indoor facility has the ability to re-use leachate (prior to pasteurisation) in the composting process. This reduces the volume of water used.

Achieved environmental benefits

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Example plants

Not identified at this stage

## Specific techniques to consider for anaerobic digestion

### Waste pre-acceptance and acceptance procedures

Description

At AD plants the quality of the input material is an important parameter. When possible, the input materials should be visually inspected by arrival. It is possible to take samples which can be analysed to ensure that the input material is not polluted and is suitable to be used in the digester. Each AD plant has an acceptance protocol with certain acceptance criteria.

Achieved environmental benefits

The characteristics of the feedstock have very important effects on the AD process. A high quality feedstock or specific mixtures can lead to higher biogas yield, because of better nutrients and micronutrients supply. Choice of feedstocks is also important for minimising impurities and potentially toxic materials (e.g. heavy metals) in order to use the digestate as organic fertiliser.

The high degree of flexibility associated with anaerobic digestion is claimed to be one of the most important advantages of the method, since several types of wastes can be treated, ranging from wet to dry and from clean organics to grey waste. The suitability of the method for very wet materials, for instance, has been addressed as an important feature in those scenarios where source separated food waste cannot be mixed up with enough quantities of bulking agents such as garden and park waste from municipal districts.

Cross-media effects

The use of sewage sludge and other potentially polluted feedstock in anaerobic digestion needs to be decided on a case-by-case basis and in line with national requirements, since the presence of contaminants such as heavy metals may present difficulties for the operator to meet the tight limit values specified for fertilising products which are in place in some EU countries.

Operational data

The AD plants should have an acceptance protocol and only accept input materials that meet the acceptance criteria. For that purpose, the operator should meet the following requirements:

- Presence of a technically qualified person during the opening hours or during delivery time and immediate receipt control of the materials delivered.

- The responsible person for acceptance should be informed about the planned transports of input material.

- The plant’s operator shall document both the acceptance and the rejection of material together with the date of delivery, type, mass, origin and supplier.

- The plant operator can take a backup sample for storage and eventual analysis.

Applicability

The main area of concern in anaerobic digestion is the guarantee of the long term performance of a plant, which is of course key to its economic feasibility. This risk can be reduced through by securing the feedstock for a long period of time.

Economics

Driving force for implementation

The acceptance of unsuitable input material can have sever implications for the plant and its profitability:

- pollution can cause severe damage to the process (destabilizing the process organisms) or to the possible market and application of the digestate; and

- the biogas production is largely affected by the quality of the input material.

Example plants

Anaerobic digestion by now is a common treatment of organic waste, especially in Germany, UK, Austria, Belgium, Sweden and Denmark. Applications on mixed or residual wastes are found in France, Spain and Italy.

Reference literature

### Storage & handling of incoming waste

Description

Liquid and solid materials should be stored appropriately:

- Liquid and semi-liquid materials should be stored in vessels. It should be ensured that the materials of the vessels and pipings are suitable for the stored input materials (e.g. corrosion resistant, acid resistant, resistant for temperature impacts)

- Solid input materials should be stored in flat or deep silos which should be covered. It should be safeguarded that rain and leachate water are drained off.

Achieved environmental benefits

The storage of the incoming materials is important to minimise emissions (e.g. odour) and to optimise the quality of the used input material.

Cross-media effects

Operational data

Applicability

Economics

Driving force for implementation

Good storage ensures that the quality of the input materials is not compromised and avoids odour problems.

Example plants

Anaerobic digestion by now is a common treatment of organic waste especially in Germany, UK, Austria, Belgium, Sweden and Denmark. Applications on mixed or residual wastes are found in France, Spain and Italy.

Reference literature

### Preparation of wastes for AD process

Description

Pre-treatment (screening, unpacking, pulping, shredding, mixing, adjusting the material’s moisture, and other pre-treatments) aims at producing an optimum substrate input mixture for the subsequent biogas process.

Achieved environmental benefits

The pre-treatment is important to optimise the following process.

Cross-media effects

During the pre-treatment it is important to limit the risk on emissions (e.g. odour).

Operational data

Applicability

Economics

Driving force for implementation

An optimum substrate input mixture ensures the best possible biogas production and helps to have a stable process.

Example plants

Anaerobic digestion by now is a common treatment of organic waste especially in Germany, UK, Austria, Belgium, Sweden and Denmark. Applications on mixed or residual wastes are found in France, Spain and Italy.

Reference literature

### Process monitoring & control specific to AD

Description

Some techniques include:

- Recycling digestate to the digester (inoculation) to maintain the microbiological population in the digester provided that no inhibiting effects (e.g. NH3) or organic load reduction occur.

- Measuring temperature, biogas production and composition, pH value, dry matter, volatile solids, volatile fatty acids (VFA, VOA), ammonium (calculated ammonia concentration), alkalinity, and other nutrients, in the digester substrate and/or digestate in order to balance the loading rate and to ensure optimal microbiological activity and therefore a good methane production.

Anaerobic systems are generally operated mainly for efficient biogas production, but also with the aim to sanitise organic wastes and to produce a stable digestate, which – if complying with national legislation – can be used as an organic fertiliser in liquid or solid form or can be post-composted. Post-composting is common in some countries of Europe, especially for municipal wastes.

Achieved environmental benefits

The techniques described above increase the efficiency of anaerobic digestion and allow better use of the products.

Longer retention times will enable more extensive biodegradation and will consequently increase the biogas production as well as the stability of the digestate, which in turn is likely to result in lower odour emissions. In addition, longer retention times and higher temperatures in the digestion process will cause a reduction of pathogenic bacteria and seeds. Alternatively  a batch pasteurisation stage can be included which enables eradication of human and animal pathogens as per the requirements of the animal by-products regulations.

It should be noted that the achieved benefits of higher retention times have to be balanced against a lower possible loading rates, which reduces the throughput, or the size of the vessels. Both increases the economic cost per tonne treated.

Cross-media effects

Recycling of waste water (technique a in the description section above) may result in an increase of the concentration of toxic/inhibiting compounds that may cause negative effects on the biological treatment.

The achieved benefits of higher retention times (technique c in the description section above) have to be balanced against a lower possible loading rate, which reduces the throughput, or the size of the vessels. Both increases the economic cost per tonne treated.

Operational data

In certain circumstances, it is necessary to control relevant parameters in the feedstock, digester and digestate at regular intervals in order to ensure a good operational mode of the installation (technique b in the description section above). In special cases e.g. foam formation or high acidification the parameters mentioned are not sufficient for process control. According to the aim of the treatment (fertilisation, landfilling, incineration), parameters for the control of the output have to be determined according to further use.

Applicability

An increase in the biogas production is typically correlated with an increased stability and hygienic status of the digestate. Then, an optimisation of the amount of producedbiogas, biogas quality and quality of digestate is recommended.

Economics

Specific investment costs are generally higher than for aerobic composting. Therefore the decision between anaerobic and aerobic is partly driven by the subsidies available for renewable energy in each member state.

The higher the organic load and the longer the time the substrate stays in the digester, the higher will be the absolute biogas production, which relates conversely to the invest of the plant. However Retention time will achieve a maximum gas yield then the yield will decrease and finally cease, regardless whether the retention time is 40 or 80 days.

Driving force for implementation

Better management of the process and compliance with the requirements of the Landfill Directive as well as the Renewable Energy Directive.

Example plants

Anaerobic digestion by now is a common treatment of organic waste especially in Germany, UK, Austria, Belgium, Sweden and Denmark. Applications on mixed or residual wastes are found in France, Spain and Italy.

Reference literature

### Emissions to water

Description

Some techniques include:

- Having a close integration between waste management and water management. This would be helpful for further developments and for management to make improvements and gather data.

- Applying liquid digestate as biofertiliser, if national requirements are fulfilled, in order to prevent or reduce the generation of wastewaters

- Using in the process as much as possible alternative sources of water, e.g. cooling water (e.g. of the engine), condensed water, rinsing water, rainwater, etc.

During the AD process itself, there is no water excess; however during storage, pre- and post-treatment and side-activities (like cleaning) this can be important.

Achieved environmental benefits

The use of alternative water sources can be useful in reducing the total water consumption of the plant.

Cross-media effects

By reusing some alternative water sources, odour can be a problem. Also the costs for making this water sources available, have to be taken into account (e.g. water treatment).

Operational data

Applicability

Economics

Driving force for implementation

Example plants

Anaerobic digestion by now is a common treatment of organic waste especially in Germany, UK, Austria, Belgium, Sweden and Denmark. Applications on mixed or residual wastes are found in France, Spain and Italy.

Reference literature

The BAT study (manure) co-digestion (VITO)

### Emissions to air

Description

Some techniques include:

- having a covered storage for not sufficient stabilised liquid digestate to reduce methane and ammonia emissions.

- avoiding emissions from uncontrolled anaerobic processes during post-composting by an adequate aeration step

- Implementing a leak control e.g. with IR camera, identifying, and where possible, quantifying significant fugitive emissions to air from all relevant sources (e.g. valves, pumps and other piping components.

- Undertaking maintenance activities for fixing any detected leaks of methane, e.g. replacing valve.

Biogas from the digester is dehumidified and solid particles are removed before it is used as fuel by either an external user or for internal use. Biogas can be combusted in gas boilers to produce heat or directly in CHP - gas motors (combusted in combined heat and power units) to generate electricity at the same time. Biogas can also be upgraded to biomethane by enhancing the methane content to be injected into the natural gas grid or be used as a fuel for light and heavy duty vehicles. For the reliable motor operation sulphur and siloxane concentration should be below the technical demand of specific engine. But also in order to reduce emissions after its combustion, biogas can be cleaned with following techniques:

- Reducing hydrogen sulphide emissions by scrubbing biogas adding metal salts into the digester or biological oxidation by a controlled addition of oxygen.

- Cleaning the produced biogas from sulphur and siloxane with activated carbon filtration.

- Equipping those plants with additional biogas storage and an emergency flare for OTNOC.

Note that when flaring any biogas that cannot be used on-site or upgraded to natural gas quality, the outlet temperature of the flue-gas should be at least 900°C and the residence time 0.3 sec. The maximum aimed concentration of sulphur compounds in biogas is 50 ppm, or a removal efficiency of at least 98%.

The emission levels (e.g. NOX, SOX, CO, H2S, VOC) levels for the engine combustion of biogas should be regulated in the directive on the limitation of emissions of certain pollutants into the air from medium combustion plants.

Achieved environmental benefits

Hydrogen sulphide emissions to air can be significantly reduced by chemical and biological precipitation of sulphur inside of the digester by controlled air injection or use of metal-ions. Alternatively or additionally the produced biogas can be cleaned from sulphur and siloxane with activated carbon filtration. If engines do not run, biogas which cannot be stored or used energetically elsewhere should be flared by a gas torch not to led methane in the atmosphere.

The AD process itself is enclosed and air emissions and odour are unlikely to occur except during transfer to and from the digester as well as separation and pre-treatment of biowaste as well as open tanks and digestate conditioning. The principal gaseous emission (methane) is a desired product of the AD process, which used as renewable energy source reduces greenhouse gas emissions. However, fugitive emissions of biogas are possible from pressure relief valves, poorly sealed water traps or condensate handling. This can result in a range of hazards, including the risk of fire or explosion, as well as toxicity from contaminant gases such as H2S and mercaptans (generating odour). Nitrogen gases also are possible.

Cross-media effects

The use of additives like metal salts or oxygen into the digester should also be tuned on the specific anaerobic digestion process in each plant.

Operational data

Applicability

Cleaning of biogas (except dewatering and removal of solids) before CHP is not usually necessary to reach emission levels. Most of emission levels are typically met by motor adjustments alone. Desulphurisation especially is done to prevent corrosion of the motors using the biogas.

Economics

Biological desulphurisation is the cheapest possibility to reduce hydrogen sulphide emissions but also chemical precipitation and even activated carbon is used to prevent motor damages. Gas torches are necessary in Germany for all biogas plants without an additional biogas consuming unit to prevent methane emissions into the atmosphere.

The cost of a leak detection survey and associated repairs can be partially offset by savings from reduced biogas losses to the air. Monetary savings are dependent upon the compensation for electricity from biogas in each member state.

Driving force for implementation

Example plants

Anaerobic digestion by now is a common treatment of organic waste especially in Germany, UK, Austria, Belgium, Sweden and Denmark. Applications on mixed or residual wastes are found in France, Spain and Italy.

Reference literature

### Energy efficiency measures

Description

Some issues to consider are:

- Maximising the production of biogas and methane content by facilitate any dissolved organic material being converted to biogas. This technique needs to consider the effect on the digestate and biogas quality.

- Installing biogas engines with higher electrical conversion efficiencies (36% - 40%).

- Using excess heat for external heat users e.g. buildings, stables drying processes to increase the overall conversion efficiency (up to 65 – 85 %).

- Upgrading biogas to biomethane by enhancing the methane content to be injected into the natural gas grid or be used as a fuel for light and heavy duty vehicles.

- Using additives (like trace elements and enzymes) for optimising the biogas process and increasing the biogas yield.

Achieved environmental benefits

Increases the energy efficiency of anaerobic digestion processes. Wide Ranges in energy production of different plants depend basically on the used feedstock.

Cross-media effects

The increase of the energy efficiency and energetic use is substitution of fossil energy carrfiers and a direct reduction of raw materials if using

- electricity directly for the operational demand on the plant

- the self produced heat in CHP e.g. for social buildings

- upgraded biomethane as fuel for waste collecting vehicles

Operational data

Applicability

Economics

The use of self produced energy can be a reduction of external costs with increasing energy costs.

Driving force for implementation

- Increasing the energy efficiency is an important economical parameter.

Example plants

Anaerobic digestion by now is common treatment of organic waste especially in Germany, UK, Austria, Belgium, Sweden and Denmark. Applications on mixed or residual wastes are found in France, Spain and Italy.

Reference literature

### Product preparation

Description

To establish new markets and reducing the cost for storage, transportation and application, the liquid digestate can be upgraded e.g. by drying, pelletizing, granulating, stripping, steam evaporation, filtration (e.g. ultrafiltration of reverse osmosis) etc.

Achieved environmental benefits

Upgraded e.g. dried digestates are physically stabilised and do not have emissions to air during open storage, transportation and application. These conditioned products can be stored better during the winter where no nutrient demand exists in agriculture or be sold to new markets like garden centre, home improvement store and retail markets and therefore the use as fertiliser guaranteed.

Cross-media effects

Operational data

Applicability

Upgrading digestate is normally done in regions with high production of organic fertilisers like manures and where long-term storage and/or long-distance transportation are necessary.

Economics

Such techniques are not always cost effective. With the reduction of storage, transport and application costs (after upgrading digestate) and the increased possibility of selling digestate products, cost-effectiveness is possible but often only provided the plant receives energy subsidies e.g. in Germany mostly only with a special compensation for the use of the heat from AD plants.

Driving force for implementation

Example plants

In Germany many hundreds of plants separate and dry the produced digestate. Pelletizing, stripping, steam evaporation and reverse osmosis is seldom used in pilot plants.

Reference literature

## Techniques to consider for mechanical biological treatment (MBT)

Description

Mechanical-biological waste treatment (MBT technology) is a material-specific process. Mixed (residual) waste is separated into various fractions, each of which is treated and, if possible, recycled in a way that is customised to its properties. The core elements of MBT are mechanical or physical separation technologies and the biological treatment of biodegradable waste components unless they are diverted to recycling (e.g. paper). Most MBT plants divide their input into a fine fraction for biological treatment and a coarse high-calorific fraction that undergoes extended mechanical treatment. Mechanical-biological stabilisation plants (MBS) deviate from this concept as their entire input or the mechanically separated, high-calorific fraction undergoes biological drying.

Types of mechanical-biological waste treatment

Mechanical-biological waste treatment plants are grouped into the following types based upon the main technology used in the biological stage:

- aerobic treatment (output from the biological stage is consigned to landfill)

- aerobic mechanical-biological stabilisation or drying (MBS) to produce refuse-derived fuel (output from the biological stage is mainly used to make refuse-derived fuel).

- dry digestion (anaerobic)

- wet digestion (anaerobic)

The following mechanical treatments can be adopted:

- Functions of mechanical treatment

- Shredding and homogenisation

- Sorting coarse and fine fractions

- Separating FE and NF metals

- Processing the high-calorific fraction

- Ejection of impurities and recyclables using sensors

- Wet mechanical sorting technologies

Functions of mechanical treatment

Mechanical processing prepares waste for subsequent treatment. The degree of processing is determined mainly by the application for the high-calorific coarse fraction and the biological treatment process for the fine fraction.

Shredding and homogenisation

In the first stage of mechanical processing, waste is prepared for subsequent treatment, pre-shredded to the necessary size and thereby also homogenised for the first time. The shredding process also opens containers and bags etc, and increases the surface area of the waste components, improving the breakdown of degradable organic elements for biological treatment.

The decision whether to pre-shred material depends upon the waste’s properties. The machinery used in this phase varies in terms of its shredding effect and depends on the type of waste to be treated. Plants frequently use breaking (e.g. single or multi-shaft breakers), cutting (rotary shear or cutting mill) or shearing (screw mill) machinery. One alternative is high-pressure compactors, which combine shredding and sorting of fractions that will undergo biological treatment.

Sorting coarse and fine fractions

The sorting of high-calorific coarse waste fractions and the fine fraction destined for biological treatment is largely performed using screening (drum, vibrating and star screens) with screen cuts between 40 mm and 150 mm. Air-classifiers are occasionally used as well. A few plants also utilise ballistic separators.

Separating FE and NF metals

Magnets remove ferrous metals; non-ferrous (NF) metals are extracted using eddy current separation systems.

Processing the high-calorific fraction

The resulting high-calorific fraction must undergo additional processing prior to energy recovery, if necessary, depending on the customer’s specifications. Apart from additional shredding, other steps include further removal of metals and other impurities, such as rocks or other inert, non-combustible materials.

Ejection of impurities and recyclables using sensors

A few plants also utilise sensor-based sorting technologies (optical NIR sensors) in order to remove PVC, for instance, from the high-calorific fraction. The PVC's high chlorine level would lower fuel quality. A few sensor-based sorting solutions remove paper and wood from the fine fraction.

Wet mechanical sorting technologies

Wet digestion plants use pulpers after the dry mechanical stage to homogenise substrate and better bring it into suspension through defibration. The pulper can eject both non-digestible floating solids and inert suspended solids, but this step may also be performed in other stages (e.g. the grit chamber). The pulper is followed by other wet sorting stages to remove floating and suspended solids (the grit chamber). Hydrocyclones are also used for this purpose.

The objective is to remove impurities, such as leftover metal, glass, sand, rocks and gravel, through sedimentation and plastic through a floating action to the aqueous phase. The degradable organic fraction that will be sent for anaerobic biological treatment is left.

Reference literature

Waste Consult & geWItra, 2013. Determination of the Best Available Techniques for Waste Treatment Industries within the Sevilla Process to Review the Reference Document on Best Available Techniques for the Waste Treatment Industries. Technical Document: Mechanical-Biological Treatment of residual waste.

### Storage & handling of incoming waste

Description

Specific techniques for storage and handling of incoming waste are:

- When required by the Competent Authority, storage of putrescible wastes is carried out in an enclosed area.

- Where the waste storage area is required to be in an enclosed building it includes a building ventilation system and an emission abatement system that maintains the building under negative air pressure in order to minimise fugitive odour,  and dust release from the building.

- The storage area for putrescible, non woody feedstock is designed to facilitate complete emptying and cleaning including drainage to allow discharge of wash waters into gullies and to a sump for use within the process or to be discharged into sewers.

- All storage areas for putrescible, non woody feedstock have an impermeable or paved surface with sealed contained drainage, to prevent any spillage entering the storage systems or escaping off-site.

- When storage is enclosed, exhaust air is captured, discharged and treated.

Achieved environmental benefits

Cross-media effects

Operational data

Applicability

Economics

Driving force for implementation

Example plants

Reference literature

### Process monitoring & control specific to mechanical biological treatment (MBT)

Description

For the composting and biostabilisation element of MBT, refer to section 2.3.2.

For the AD element, refer to section 2.4.4.

### Emissions to air

#### Odour

Description

End of pipe techniques: the use one or a combination of the following abatement systems: biofilter, wet scrubber, activated carbon, bioscrubber, ozone treatment and acid scrubber. These are already described in sections 2.3.3 and 2.4.6, with the exception of regenerative thermal oxidisers.

Regenerative thermal oxidisers

Flameless oxidation technique that involves a heated bed of ceramic material and whose function is to reduce greenhouse gas emissions (e.g. methane) and to dispose of other organic substances that have an impact on the environment and human health

Achieved environmental benefits

Odour complaints are the most common issue for composting plants. Management of odour is critical. Once odours are managed effectively the plant has significantly improved environmental benefits.

Cross-media effects

Operational data

Applicability

Economics

Driving force for implementation

Example plants

Reference literature

Cré-Composting and Anaerobic Digestion Association of Ireland (2011) Certificate in Compost Facility Operation Manual. Dundalk, Louth, Ireland.

#### Bioaerosols and dust

Description

Techniques to minimise bioaerosols are already described in section 2.3.3 and 2.4.6.

#### Ammonia

Techniques to minimise bioaerosols are already described in section 2.3.3 and 2.4.6.

### Energy efficiency measures and measures to reduce raw materials consumption

The main energy consumption in an indoor plant is from aeration fans and diesel used in loaders. A energy audit should be conducted of the processed to reduce energy consumption.

An indoor composting plant has the ability to control the composting process to provide the optimal conditions for composting e.g. aeration fans. As part of the process an indoor facility has the ability to re-use leachate (prior to pasteurisation) in the composting process. This reduces the volume of water used.

Achieved environmental benefits

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Example plants

Not identified at this stage

### Product preparation

Achieved environmental benefits

Not identified at this stage

Cross-media effects

Not identified at this stage

Operational data

Not identified at this stage

Applicability

Not identified at this stage

Economics

Not identified at this stage

Driving force for implementation

Not identified at this stage

Example plants

Not identified at this stage

Reference literature

## Techniques specific to other biological treatments …

# Footnotes

Bidlingmaier, W., Müsken, J., 1997. Biotechnologische Verfahren zur Behandlung fester Abfallstoffe; in: Ottow, J. C. G., Bidlingmaier, W. (hrsg.), Umweltbiotechnologie, Gustav Fischer Verlag, Stuttgart

Böhm, R., Martens, W., Bittighofer, M. 1998. Aktuelle Bewertung der Luftkeimbelastung in Abfallbehandlungsanla-gen, Wissenschaftliche Expertise angefertigt für die SULO-Stiftung, Herford

Amlinger F., Hildebrandt U., Müsken J., Cuhls C., Peyr S., Clemens, J., 2005b. Stand der Technik der Kompostierung -  Grundlagenstudie. Edt: BMLFUW, Wien. http://www.lebensministerium.at/umwelt/abfall-ressourcen/behandlung-verwertung/behandlung-biotechnisch/richtlinie_sdt.html

Chiumenti A., Chiumenti R., Diaz L.F., Savage G.M., Eggerth L.L. and Goldstein, N. (2005) Modern Composting Technologies. JG Press, Emmaus, PA 18049, USA.

Jacobs, J, Sauer, N and J Gilbert (2007) An Industry Guide for the Prevention and Control of Odours at Biowaste Processing Facilities. The UK Composting Association, Northampton, UK.

Environment Agency/Association for Organics Recycling (2009) A standardised protocol for monitoring of bioaerosols at open composting facilities.